|  | FAX BID FORM | PAGE# | 1 | OF: | 1 |
| --- | --- | --- | --- | --- | --- |
|  | Include additional pages if necessary |  |
|  | DATE: | 3/19/2019 |
|  | FAX NUMBER: | 816-241-3782 |
| To: | Westridge Elementary School | Project: | Water Line Replacement |
|  | 8500 E 77th Street |  |  |
|  | Kansas City, MO 64138 | Attention: | Mike Cogan |
| Base Bid |
| Spec Section: |  | Description of Work: |  | Amount of Bid: |
| *All work to be done during the day on straight time |  | *Price includes cost to pump pit and shut water down afterhours |  |  |
|  |  | Call for utility locates |  |  |
|  |  | Mobilize Plumber, Apprentices, equipment, and material to jobsite |  |  |
| *All work to be done per City Code and specifications |  | Excavate from building to meter pit approx. 120’ |  |  |
|  |  | Sawcut through drive for install |  |  |
|  |  | Demo out existing meter setter in pit and line going to crawl space |  |  |
| *All trench and street safety to be utilized and provided |  | Rebuild meter setter in ductile iron including valves and stub ductile 3’ out of meter pit |  |  |
|  |  | Provide and install HDPE with tracer from meter pit to inside of building |  |  |
| *Not responsible for damage to private/ unmarked utilities |  | Provide and install new entrance valve inside and connect to backflow |  |  |
|  |  | Seal all penetrations |  |  |
|  |  | Backfill around piping with gravel and tamp soil back to grade |  |  |
| *Rock excavation or landscaping beyond backfill not included |  | Backfill completely with gravel in drive |  |  |
|  |  | Haul off all spoils and clean area |  |  |
|  |  | All work to be tested |  |  |
|  |  | Seed and straw mat area |  |  |
|  |  | Not To Exceed Total | $ | 34,500.00 NTE |
| Alternates |
| Number: |  | Description of Work: |  | Add to Bid: |  | Deduct from Bid: |
|  | Patch back asphalt drive after install |  |  |
| 1 |  |  | $ | 2,200.00 | $ |  |  |
| Bonds Included? |  | YES | X | NO | Furnished and Installed? | X | YES |  | NO |
| Sales Tax included? |  | YES | X | NO | AFL/CIO Union labor? | X | YES |  | NO |
| DELIVERY/SCHEDULE INFO, EXCLUSIONS / QUALIFICATIONS OR OTHER CLARIFICATIONS: |
| Budget does not include engineered drawings, work already in call, unrelated conditions or overtime |
| All workmanship is warrantied for one full year from date of install |
| Price subject to change if not accepted within 15 days. Not responsible for unmarked utilities underground or in slab |
| Job quoted by: Brian Switzer Email: brian@lexingtonplumbing.com Cell: 816-204-4825 |
| Accepted by: | Payment is net 30 days | PO#: |
| 1991 EDITION |  | CONSTRUCTION INDUSTRY AFFAIRS COUNCIL OF KANSAS CITY, INC. |

# Text boxes

1620 Troost Ave

Kansas City, Mo 64108

Office: 816-231-2254

Fax:     816-241-3782

www.lexingtonplumbing.com

### Submitted by: Brian Switzer